## 5.2. Sheet Cust, Historical and Forecasted Customer Data

The table should contain data on barangays, households, and customers.

Cells for historical data are colored gray while cells for forecasted data are colored white. Clicking the up spinner button will add columns for the following year. This is useful for using the same file for future DDP submissions. Clicking the down spinner button will delete the column for last forecast year unless it is 2028. This cannot be undone. Before proceeding, ensure that the year labels correspond to those in sheets Capt in the PSPPs.

The input fields are as follows:

| Input Field | Description |
| --- | --- |
| [X1] = Energized, served by this DU through Unenergized, waived (no ASP) | Number of barangays in franchise area for the year, both historical and forecasted |
| [X2] = Energized, served by this DU through Unenergized, waived (no ASP) | Number of households in franchise area for the year, both historical and forecasted |
| Number of barangays outside franchise being served | Number of barangays outside franchise area being served, both historical and forecasted |
| [Y1] = Residential, Commercial, Industrial, Others | Number of customer connections outside franchise area for the year, both historical and forecasted |
| [Y2] = Residential, Commercial, Industrial, Others | Number of captive customer connections for the year, both historical and forecasted, as derived from PSPPs |
| Unserved by RES, ≥ 1 MW through Switched, (500 kW, 750 kW) | Number of contestable customers, both historical and forecasted |
| NCP MW of switched contestable customers | Non-coincident peak MW of Contestable Customers served by RES, both historical and forecasted |
| Total MWh of switched contestable customers | MWh consumption of contestable customers served by RES, both historical and forecasted |
| [Z1] = Solar, Wind, Biomass or Biogas, Other RE System | Number of NM customers, both historical and forecasted |
| [Z2] = Solar, Wind, Biomass or Biogas, Other RE System | MWh generation of NM customers, both historical and forecasted |
| Number of GEOP Customers | Number of customers that avail of the Green Energy Option (GEOP), both historical and forecasted |
| NCP MW of GEOP customers | Non-coincident peak MW of GEOP customers, both historical and forecasted |
| Total MWh of GEOP customers | MWh consumption of GEOP customers, both historical and forecasted |
| Number of RE Self-generation Facilities | Number of Renewable Energy SGFs, both historical and forecasted |
| Total MW of RE Self-generation Facilities | Aggregate capacity in MW of Renewable Energy SGFs, both historical and forecasted |
| Total MWh of RE Self-generation Facilities | MWh generation of Renewable Energy SGFs, both historical and forecasted |

Y2 shall only be filled by clicking the Refresh button to capture and sum the values in each PSPP. The Refresh button will not work if HistForc is empty.

The values for Z2 must come from Renewable Energy Certificate (REC) meters as required under Section 10 of the “Amended Rules Enabling the Net Metering Program for Renewable Energy” adopted under ERC Resolution No. 06, Series of 2019.

Populate the input fields as applicable. To check for correctness, save the file then hit . To clear the contents of the table, click the Clear button.

Clicking  for Sheet Cust yields a summary window if there are no errors, or an error message if there is a text value where none should be.