## 5.6. Sheet CurrInf, Current Infrastructure Quantities

This worksheet is a collection of six tables pertaining to different asset types.

The first and second tables pertain to subtransmission and distribution lines, respectively. The fields are as follows:

| Input Field | Description |
| --- | --- |
| V Line-to-Line | Pre-filled with voltage levels |
| ckm | Corresponding circuit kilometers |

The third table pertains to subtransmission and distribution poles. The fields are as follows:

| Input Field | Description |
| --- | --- |
| Type | Pre-filled with pole types |
| Count | Corresponding count |

The fourth and fifth tables pertain to substation and distribution transformers, respectively. The fields are as follows:

| Input Field | Description |
| --- | --- |
| Max kVA | Maximum transformer kVA |
| Count | Corresponding count |

The sixth table pertains to substation and distribution capacitors. The fields are as follows:

| Input Field | Description |
| --- | --- |
| Max kVAr | Maximum capacitor kVAr |
| Count | Corresponding count |

Populate the input fields as applicable. To check for correctness, save the file then hit . To clear the contents of the table, click the Clear button.

Clicking  for Sheet CurrInf yields a summary window if there are no errors, or an error message if there is a text value where none should be.