## 5.7. Sheet SSTx, Forecasted Loads per Substation Transformer

The table should contain the forecasted maximum load in MVA per substation transformer. The 10 forecast years are set by the spinner buttons in Cust.

The input fields are as follows:

| Input Field | Description |
| --- | --- |
| Transformer | Name of the substation transformer |
| Max MVA | Maximum MVA rating of the substation transformer |
| Jan through Dec | Forecasted maximum load in MVA for the substation transformer for the month |

The entries should not be separated by empty rows.

Populate the input fields as applicable. To check for correctness, save the file then hit . To clear the contents of the table, click the Clear button.

Clicking  for Sheet SSTx yields a summary window if there are no errors, or an error message if there is a text value where none should be.