## 2.4. Sheet Forc, Forecasted Consumption Data

This sheet is the most important component of the workbook as it should contain the forecasted MW and MWh consumption of the Sector.

There is a fixed number of columns, corresponding to each month of the first forecast year through the tenth forecast year. The years are set by the spinner buttons in Hist.

The basic input fields are as follows:

| Input Field | Description |
| --- | --- |
| Coincident Peak MW | Forecasted coincident peak or system peak in MW for the Sector for the month, with generation from NM customers and SGF taken into account |
| WESM | Energy in MWh to be purchased from WESM for the Sector for the month (may be negative if the quantities sold to the spot market exceed the quantities purchased) |
| S4R as Buyer | Forecasted MWh from another DU through a Sale for Resale Agreement for the Sector for the month (to be populated only by the Buying DU) |
| Retail Electricity Suppliers MWh | Forecasted MWh from RES for the Sector for the month |
| Net Metering Customers | Forecasted MWh from NM for the Sector for the month |
| Self-generation Facilities | Forecasted MWh from SGF for the Sector for the month (generation from embedded generators not covered by a PSA may be included) |
| Retail Electricity Suppliers MW | Supply in MW corresponding to the coincident demand of switched Contestable Customers for the Sector for the month |
| [MWh Sales (Old)] = Residential, Commercial, Industrial, Public Buildings, Streetlights, Water Systems, All Others | Forecasted MWh Sales for each customer class for the Sector for the month |
| [MWh Sales (New)] = Residential, Low Voltage, Higher Voltage | Forecasted MWh Sales for each customer class for the Sector for the month based on a different classification |
| S4R as Seller | Forecasted MWh to other DUs through Sale for Resale Agreements for the month (to be populated only by the Selling DU) |
| Own Use | Forecasted Own Use in MWh for the Sector for the month |
| Feeder Technical Loss | Forecasted losses in MWh to be incurred by the distribution network downstream of the distribution substations for the Sector for the year or month |
| SubTx & SS Technical Loss | Forecasted losses in MWh to be incurred by the sub-transmission network and the distribution substations for the Sector for the year or month |
| Non-technical Loss | Forecasted non-technical component of System Loss in MWh for the Sector for the month |

To add fields for a Contracted PSA, click the first up spinner button. A dialog box will appear. Type in the Case Number for the PSA application filed with ERC (e.g. “2017-999RC”), and press Enter. If there is no case number, type in any suitable identifier, observing consistency with the corresponding input in Offtake as applicable. A second dialog box will appear for the portion of load served. Type in “B” for base load, “I” for intermediate, and “P” for peaking, and press Enter. Note that the input is case-sensitive and the dialog box will keep on cycling until the correct input is made. A similar dialog box will appear for Renewable Portfolio Standards (RPS) eligibility. Type in “Y” for “Yes” if the PSA is with an RPS-eligible resource (an RE plant that commenced operation after the effectivity of RA 9513), or “N” for “No” if otherwise, and press Enter.

As a guideline, a PSA is for base load requirements if its expected utilization (MWh Offtake divided by the number of period hours divided by the pertinent generating capacity in MW) is 70% or higher. A PSA is for intermediate or mid-merit requirements if its expected utilization is between 20% and 70%. A PSA is for peaking requirements if its expected utilization is 20% or lower. However, due to changing circumstances, the assignments may change. For example, an intermediate PSA may be “promoted” to base load if it proves cheaper later on, or if there is substantial increase in minimum load requirements.

A row with a dark blue label will be inserted under the Contracted MWh heading and another one with a light blue label will be inserted under the Contracted MW heading. Both will be labelled as inputted. Clicking the first down spinner button will lead to the deletion of the rows corresponding to the last Contracted PSA added. This cannot be undone.

Except for clicking the second or third spinner buttons instead of the first, the same procedures apply for Pending and Planned PSAs, respectively. However, for Planned PSAs, any descriptive text (e.g. “2022 Peaking”) may be inputted to the first dialog box.

The process for adding fields for Contracted, Pending, and Planned PSAs cannot be aborted. Thus, if any up spinner button is accidentally clicked, dummy inputs must be made without any effort to cancel. Then, once the two rows for the dummy inputs are inserted, simply click the corresponding down spinner button to remove the rows, thereby reverting to the previous state.

Do not add fields for Offtakes from WESM, Sale for Resale, NM customers, and SGF as no MW field was intended. It is understood that the MW shortfall of Grid-connected Sectors will be procured from WESM, that whatever is supplied by the Selling DU will be offtaken by the Buying DU, and that Coincident Peak MW already took into account generation from NM customers and SGF.

The PSA input fields are as follows:

| Input Field | Description |
| --- | --- |
| Contracted MWh for PSA | Energy in MWh to be purchased for the Sector for the month through a PSA approved by ERC, or undertaken with NPC-SPUG, or a RESA (MWh forecasted to be offtaken regardless of MEOT indicated in the PSA) |
| Pending MWh for PSA | Energy in MWh to be purchased for the Sector for the month through a PSA pending final approval by ERC |
| Planned MWh for PSA | Energy in MWh to be purchased for the Sector for the month through a PSA to be procured through CSP |
| Contracted MW for PSA | Contracted capacity in MW secured for the Sector for the month through a PSA approved by ERC or undertaken with NPC-SPUG (MW available for nomination regardless of actual need) |
| Pending MW for PSA | Capacity in MW to be secured for the Sector for the month through a PSA pending final approval by ERC |
| Planned MW for PSA | Capacity in MW to be secured for the Sector for the month through a PSA to be procured through CSP |

It is possible that a PSA may not have definite MW and MWh quantities. In such a case, just provide the best estimate. Further, take care to ensure that the MW and MWh quantities for a PSA do not lead to utilization above 100% outside of exceptional cases.

The Buying DU shall have a PSPP for a Sector served by the Selling DU under a Sale for Resale Agreement. In said PSPP, the Buying DU shall populate S4R as Buyer according to the energy forecasted to be sold by the selling DU and populate [MWh Sales (Old)] and [MWh Sales (New)] accordingly. S4R as Seller must be left blank.

The Selling DU shall indicate in its PSPP for “Grid” the energy forecasted to be sold to the Buying DU in S4R as Seller and not in MWh Sales (Old) and MWh Sales (New).

The DU’s consumption should be in Own Use and not in Commercial.

Note that only the conduct of Load Flow Analysis can lead to accurate estimates of Feeder Technical Loss and SubTx & SS Technical Loss. However, if there is no System Loss segregation in place, input the entire quantity to Feeder Technical Loss. Likewise, input the entire quantity to Feeder Technical Loss if the technical component of System Loss is known but cannot be segregated further. For such cases, include the necessary narrative to the draft PSPP.

Any imbalance between the sum of Contracted MWh for PSA, Pending MWh for PSA, Planned MWh for PSA, WESM, S4R as Buyer, Retail Electricity Suppliers MWh, Net Metering Customers, and Self-generation Facilities and the sum of MWh Sales (Old), S4R as Seller, Own Use, Switched Contestable Customers, Feeder Technical Loss, SubTx & SS Technical Loss, and Non-technical Loss will be reflected as a non-zero value in MWh (Output + Loss - Offtake) below the table. The corresponding cell will be colored blue (offtake excess or input shortfall) or red (offtake shortfall or input excess). The same imbalance will be used to calculate Transmission Loss. For a correct set of data, Transmission Loss will not have a negative value. As a matter of fact, it should be positive for most Grid-connected Sectors as MWh Offtake is naturally higher than the sum of MWh Output and MWh System Loss.

Any imbalance between MWh Sales (Old) and MWh Sales (New) will be reflected as a non-zero value in MWh Sales (New vs Old) below the table. The corresponding cell will be colored blue (“Old” excess or “New” shortfall) or red (“Old” shortfall or “New” excess). Regardless of any conflict, MWh Sales (Old) will be the one used in calculations.

The main differences of this sheet from Hist are the breakdown of MWh Offtake and the lack of entry for MWh Input. For SIIG and S4R Sectors, the sum of the output and system loss fields shall be equal to the sum of the offtake fields. For Grid Sectors, the sum of the offtake fields shall be slightly larger to account for the difference between the offtake and the input based on historical data, which is the Transmission Loss.

Populate the input fields as applicable. To check for correctness, save the file then hit . To clear the contents of the table, click the Clear button.

Clicking  for Sheet Forc yields a summary window if there are no errors, or an error message if there is a text value where none should be.